This document is based on a free document supplied by The Legal Stop Limited through its website www.legalstop.co.uk

[PLEASE RETAIN THE CREDIT AND HYPERLINK IN ACCORDANCE WITH THE TERMS OF THE LICENCE UNDER WHICH THE TEMPLATE IS PROVIDED.  THE HYPERLINK SHOULD POINT TO: www.legalstop.co.uk YOU CAN HOWEVER DELETE THIS NOTE BETWEEN SQUARE BRACKETS]

CONFINED SPACES – PERMIT TO WORK

|  |  |  |  |  | Permit to Work No. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company Name: |  |  |  |  |  |  |  |  |  |
| Job Details: |  |  | Issuing Department: |  |  |  |  |  |  |
| Job Location: |  |  |  |  |  |  |  |  |  |
| Task Description |  |  |  |  |  |  |  |  |  |
| Is entry into the confined space vital? If no, please complete the ‘Confined Spaces Risk Assessment’ form. |  |  |  |  |  |  |  |  | YES/ NO |
| NECESSARY PRECAUTIONS AND CONTROL MEASURES |  |  |  |  |  |  |  |  |  |
| Hazards Identified (Please Specify) |  |  |  |  |  |  |  |  |  |
| Instructions before and during entry |  |  |  |  |  |  |  |  |  |
| CHECKLIST |  | YES |  | NO |  | N/A |  | Name of Person Responsible |  |
| Are operatives adequately trained in use of any PPE that has to be worn and suitable for tasks? |  |  |  |  |  |  |  |  |  |
| Is competent supervision available throughout the job? |  |  |  |  |  |  |  |  |  |
| Are there proven means and trained persons prepared for evacuating a casualty from the confined space? |  |  |  |  |  |  |  |  |  |
| Is there safe access / egress for operatives? |  |  |  |  |  |  |  |  |  |
| Have all necessary equipment and services been provided to operatives? |  |  |  |  |  |  |  |  |  |
| Is there adequate space to carry out work safely? |  |  |  |  |  |  |  |  |  |
| Is the space to carry out work free from clutter and debris? |  |  |  |  |  |  |  |  |  |
| Have pipes/tanks and equipement been drained and vented? |  |  |  |  |  |  |  |  |  |
| Have suitable means of communication been set up for those in the confined space to person(s) on watch or outside at all times? |  |  |  |  |  |  |  |  |  |
| Have suitable tools and equipment been selected? Have intrinsically safe electrical appliances been provided if a potential flammable atmosphere exists? |  |  |  |  |  |  |  |  |  |
| Incoming services: Have they been isolated? – water / steam / gas / electricity / fuel / other (delete as appropriate) |  |  |  |  |  |  |  |  |  |
| Installed equipment: Have they been isolated? electrically/ mechanically or both? (delete as appropriate) |  |  |  |  |  |  |  |  |  |
| Have residues, sludges or other potential causes of fume been eliminated? |  |  |  |  |  |  |  |  |  |
| Has adequate lighting has been arranged? |  |  |  |  |  |  |  |  |  |
| Have potential ingress of fumes or other substances. i.e excess rainwater if outside, been evaluated? Are control measures in place? |  |  |  |  |  |  |  |  |  |
| Has atmospheric testing for oxygen / toxic fumes / flammables been carried out? (delete as appropriate) |  |  |  |  |  |  |  |  |  |
| Has adequate ventilation by natural air flow / mechanical means (delete as appropriate) been arranged ? |  |  |  |  |  |  |  |  |  |
| Please provide details of other required precautions that is applicable to the job. |  |  |  |  |  |  |  |  |  |
| Please provide details of any other safety equipment required. |  |  |  |  |  |  |  |  |  |
| ACCEPTANCE AND AUTHORISATION BY WORKERS |  |  |  |  |  |  |  |  |  |
| Please confirm that you have read and understood this permit. |  |  |  | Name(s) |  |  |  | Signature (s) |  |
| Authorisation by Responsible Person |  |  |  |  |  |  |  |  |  |
| I accept full responsibility for the work to be carried out. I can verify that permission is authorised for this work, and the above location has been thoroughly examined and precautions have been taken. |  |  |  |  |  |  |  |  |  |
| Responsible person supervising the work: | Date and Time permit starts: |  |  |  |  |  |  |  |  |
| Signature of person supervising the Work: | Date and Time permit ends: |  |  |  |  |  |  |  |  |
| Sign off that work is completed/suspended (delete as appropriate) |  |  |  |  |  |  |  |  |  |
| I confirm that the work has been completed / partially completed (delete as appropriate). The work has been checked by me, and the area has been left in a clean and safe condition. This permit is now cancelled. |  |  |  |  |  |  |  |  |  |
| Responsible person supervising the work: |  |  |  |  |  |  |  |  |  |
| Signature of person supervising the work: | Date and Time: |  |  |  |  |  |  |  |  |